## Slide 1: Research Plan Proposal: Optimal Power Grid Design for a Low Carbon Emission Future “to efficiently deliver sustainable, economic and secure electricity supplies”
Erik Alvarez
Supervisors: Dr. Luis Olmos and Dr. Andrés Ramos
Objectives
Optimal Power Grid Design (OPGD)
Problem definition and expected results
Checkpoint
Remaining tasks
Leveraging the Power Grid with openTEPES
European context
PhD schedule
Literature review
Notes: Low-Carbon Emission

## Slide 2: European context
2020
2030
20% reduction in greenhouse gas emissions compared to 1990
20% renewable share on gross final energy consumption
20% reduction in primary energy consumption
40% reduction in greenhouse gas emissions compared to 1990
32% renewable share on gross final energy consumption
32.5% reduction in primary energy consumption
10% electricity interconnection
15% electricity interconnection
2050
Low carbon emissions future
Climate neutral economy
  Paris agreement: To keep the increase in global average temperature below 2°C above pre-industrial levels (preferred target 1.5°C)
Framework 2021-2030
Energy and economic efficiency
New energy rulebook (National Energy and Climate Plan)
More rights for consumers
Increased security of the system supported by a smarter and more efficient electricity system
More details can be found in: https://ec.europa.eu/clima/policies/strategies_en
Objectives
Optimal Power Grid Design (OPGD)
Problem definition and expected results
Checkpoint
Remaining tasks
Leveraging the Power Grid with openTEPES
European context
PhD schedule
Literature review
Notes: European context:
Green boxes highlight features that we are interesting on

## Slide 3: Optimal Power Grid Design (OPGD)
To make an OPGD, the following is taken in consideration:
Main dimensions in Transmission Expansion Planning (TEP) related to network flexibility:
Network representation
Temporal representation
Decision dimension
[1] D3.1 Quantitative Scenarios for Low Carbon Futures of the pan-European Energy System
Source: https://openentrance.eu/2020/06/26/quantitative-scenarios/
Objectives
Optimal Power Grid Design (OPGD)
Problem definition and expected results
Checkpoint
Remaining tasks
Leveraging the Power Grid with openTEPES
European context
PhD schedule
Literature review

## Slide 4: Literature review: TEP (see slide: Reference I)
Research gaps:
A better network representation
PST, FACTS, and switchable elements: Power flow control & topology optimization
A suitable search space reduction including PST, FACTS, and switches
A temporal representation with chronological constraints
Objectives
Optimal Power Grid Design (OPGD)
Problem definition and expected results
Checkpoint
Remaining tasks
Leveraging the Power Grid with openTEPES
European context
PhD schedule
Literature review

## Slide 5: Objective
To deal with the needs of a low carbon emission future, network expansion and operation planning should be more accurate and flexible, while also being represented in a more compact way.
Sub-objectives :
How can we achieve these improvements?
Exploring the formulation of an AC power flow model considering cycle constraints in TEP
Exploring the deployment of switchable elements for topology optimization and PST & FACTS for power flow control to increase network flexibility
Identifying policy implications for the development and operation of regional systems through the application of the enhanced model to quantitative European scenarios[1] (optional)
[1] D3.1 Quantitative Scenarios for Low Carbon Futures of the pan-European Energy System
Source: https://openentrance.eu/2020/06/26/quantitative-scenarios/
Network operation representation using AC power flow with cycle constraints
Topology optimization and power flow control within expansion planning
Search space reduction considering PST, FACTS, and switchable elements
Representative periods with chronological interdependency
Definition of policy implications for network development
Objectives
Optimal Power Grid Design (OPGD)
Problem definition and expected results
Checkpoint
Remaining tasks
Leveraging the Power Grid with openTEPES
European context
PhD schedule
Literature review

## Slide 6: Problem definition
Transmission Expansion Planning (TEP)
How the cycle approach can be adapted from its application in DC load flow to AC load flow? (ref. [1])
What impact on costs does TEP when considers AC instead of DC power flow?
What impact in time happens when 'circular flows' is used instead of the traditional formulation?
Is it possible that the network flexibility is increased even more considering the topology optimization in the TEP? (ref. [2])
What approach between marginal and incremental benefits offers a suitable calculation of equipment benefits?
Is it possible to get snapshots selection with chronological interdependency? (e.g., ref. [3])
What is the impact of including chronological constraints in the TEP problem in terms of increased efficiency?
AC power flow with cycles constraints
Topology Optimization
Power Flow Control
Search Space Reduction
Chronological interdependency
[1] Neumann, Fabian, and Tom Brown. "Transmission Expansion Planning Using Cycle Flows." Proceedings of the Eleventh ACM International Conference on Future Energy Systems. 2020.
[2] Tejada, Diego, et al. "Transmission network expansion planning considering repowering and reconfiguration." International Journal of Electrical Power & Energy Systems 69 (2015): 213-221.
[3] Baumgärtner, Nils, et al. "RiSES3: Rigorous Synthesis of Energy Supply and Storage Systems via time-series relaxation and aggregation." Computers & Chemical Engineering 127 (2019): 127-139.
N° | Contribution
1 | Network operation representation using AC power flow with cycle constraints
2 | TEP considering topology optimization & TEP considering power flow control
3 | Search space reduction considering PST, FACTS, and switchable elements
4 | Representative periods with chronological interdependency – representation of intertemporal constraints
Expected outputs
Objectives
Optimal Power Grid Design (OPGD)
Problem definition and expected results
Checkpoint
Remaining tasks
Leveraging the Power Grid with openTEPES
European context
PhD schedule
Literature review

## Slide 7: Leveraging the Power Grid with openTEPES
[1] D3.1 Quantitative Scenarios for Low Carbon Futures of the pan-European Energy System
Source: https://openentrance.eu/2020/06/26/quantitative-scenarios/
Objectives
Optimal Power Grid Design (OPGD)
Problem definition and expected results
Checkpoint
Remaining tasks
Leveraging the Power Grid with openTEPES
European context
PhD schedule
Literature review
Notes: Current model’s characteristics in black, and improvements in red

## Slide 8: PhD schedule
Objectives
Optimal Power Grid Design (OPGD)
Problem definition and expected results
Checkpoint
Remaining tasks
Leveraging the Power Grid with openTEPES
European context
PhD schedule
Literature review

## Slide 9: Checkpoint: Second year work
Literature review
  TEP & AC-OPF models (Item 4: P2)
  Topology optimization: optimal transmission switching & bus splitting (Item 5: P4)
Updating the RTS24 case study according to [4] (Item 4.2: P2, P3) (Item 5.2: P4)
Tools
  Getting representative periods, each one comprising 24 hours (Item 4.1: P2)
  Getting line benefits by a modified version of the PINT & TOOT approach (Item 5.1: P4)
  Getting switching stages, linked with temporal reduction (Item 5.1: P4)
Modelling
  Transmission line switching in openTEPES (Item 5.1: P4)
  AC-OPF models: DistFlow & Bus Injection. Power Mismatch Validation & Bounds Tightening (Item 4.1: P2)
Analysis
  Comparison of MISOCP and MILP version of the AC-OPF in openTEPES (Item 4.1: P2)
Papers (to be sent to PSCC)
  P2: An Integrated Expansion Planning Model Considering an AC-OPF with Cycle Constraints and Detailed UC Constraints
  P3: Value and Impact of Using Local Flexibility into the Transmission Expansion Planning
Objectives
Optimal Power Grid Design (OPGD)
Problem definition and expected results
Checkpoint
Remaining tasks
Leveraging the Power Grid with openTEPES
European context
PhD schedule
Literature review
[4] Barrows, Clayton, et al. "The IEEE reliability test system: A proposed 2019 update." IEEE Transactions on Power Systems 35.1 (2019): 119-127.
Notes: Literature review:
  Transmission expansion planning
  AC OPF models
  Topology optimization: optimal transmission switching & bus splitting
  Advanced power flow control
  Integration of VRE and ESS, and demand response
Case study:
  IEEE test system (RTS: 72 & 24 nodes)
openTEPES as python package

## Slide 10: Remaining tasks
Literature review
  Power flow control: PST & FACTS (Item 5: P5)
  Search space reduction techniques (Item 5: P5)
  Temporal reduction techniques with chronology interdependency (Item 6: P6)
Data for reference case study considering European Quantitative scenarios[1] : (Item 5.2: P5) (Item 6.2: P6)
Modelling
  Topology optimization:
    Modelling the bus splitting (Item 5.1: P4)
    Design a strategy for topology optimization, it should harmonize the switching stages and line switching options with the bus splitting (Item 5.1: P4)
  Advanced power flow control
    Modelling PST and FATCS, grouped with the switchable elements in a joint strategy (Item 5.1: P5)
  Search space reduction considering PST, FACTS, and switchable elements (Item 5.1: P5)
  Representative periods with chronological interdependency (Item 6.1: P5)
[1] D3.1 Quantitative Scenarios for Low Carbon Futures of the pan-European Energy System
Source: https://openentrance.eu/2020/06/26/quantitative-scenarios/
Objectives
Optimal Power Grid Design (OPGD)
Problem definition and expected results
Checkpoint
Remaining tasks
Leveraging the Power Grid with openTEPES
European context
PhD schedule
Literature review
Legend:
FACTS : Flexible Alternating Current Transmission System
PST : Phase Shifting Transformers
Notes: Literature review:
  Transmission expansion planning
  AC OPF models
  Topology optimization: optimal transmission switching & bus splitting
  Advanced power flow control
  Integration of VRE and ESS, and demand response
Case study:
  IEEE test system (RTS: 72 & 24 nodes)
openTEPES as python package

## Slide 11
“The new becomes old, and the old becomes new…a life cycle”

## Slide 12: Reference: I
[1] Neumann, Fabian, and Tom Brown. "Transmission Expansion Planning Using Cycle Flows." arXiv preprint arXiv:2004.08702 (2020).
[2] Macedo, Leonardo H., et al. "MILP branch flow model for concurrent AC multistage transmission expansion and reactive power planning with security constraints." IET Generation, Transmission & Distribution 10.12 (2016): 3023-3032.
[3] Kazerooni, A. K., and J. Mutale. "Flexible transmission network planning with post-contingency network switching." 2009 44th International Universities Power Engineering Conference (UPEC). IEEE, 2009.
[4] Dehghan, Shahab, and Nima Amjady. "Robust transmission and energy storage expansion planning in wind farm-integrated power systems considering transmission switching." IEEE Transactions on Sustainable Energy 7.2 (2015): 765-774.
[5] Bustos, Carlos, et al. "Energy storage and transmission expansion planning: substitutes or complements?." IET Generation, Transmission & Distribution 12.8 (2017): 1738-1746.
[6] Tejada, Diego, et al. "Transmission network expansion planning considering repowering and reconfiguration." International Journal of Electrical Power & Energy Systems 69 (2015): 213-221.
[7] Ploussard, Quentin, Luis Olmos, and Andrés Ramos. "A search space reduction method for transmission expansion planning using an iterative refinement of the DC load flow model." IEEE Transactions on Power Systems 35.1 (2019): 152-162.
[8] Ploussard, Quentin, Luis Olmos, and Andrés Ramos. "An operational state aggregation technique for transmission expansion planning based on line benefits." IEEE Transactions on Power Systems 32.4 (2016): 2744-2755.
[9] Khodaei, Amin, Mohammad Shahidehpour, and Saeed Kamalinia. "Transmission switching in expansion planning." IEEE Transactions on Power Systems 25.3 (2010): 1722-1733.
[10] Zhan, Junpeng, Weijia Liu, and C. Y. Chung. "Stochastic transmission expansion planning considering uncertain dynamic thermal rating of overhead lines." IEEE Transactions on Power Systems 34.1 (2018): 432-443.
[11] Nagarajan, Harsha, et al. "Optimal resilient transmission grid design." 2016 Power Systems Computation Conference (PSCC). IEEE, 2016.